## Sheet1
Rule | Current Language | Proposed Revision | Feedback
2.1 Permit Required | Any person undertaking an activity for which a permit is required by these rules must obtain the required permit prior to commencing the activity that is subject to District regulation. | Addition of "The applicant must coordinate with any other local, State, or Federal agencies to determine if other permits are required for the activity. Application approval may be contingent upon compliance with applicable State and Federal regulations, including obtaining necessary permits."
2.7.2 Fees | The District will charge the following fees: 1. Application Fees: Fee charged for processing permit applications. 2. Review and Inspection Fee: Fee charged for the actual cost of review and inspection work performed by District staff and consultants on permit applications. | Removal of reference to Application Fee - "The District will charge a Review and Inspection Fee for the actual cost of review and inspection work performed by District staff and consultants on permit applications."
2.9 Permit Terms | All permits when issued shall be signed by the District Administrator, District Engineer, or President of the Board. | All permits when issued shall be signed by the District Administrator, District Engineer, President of the Board, or other assigned individual.
2.12.2 Infiltration Test | A post-construction infiltration test must be performed on each infiltration practice in the presence of District staff and must demonstrate that the constructed infiltration rate meets the design infiltration rate standard prior to project acceptance by the District. The constructed infiltration rate may exceed the design infiltration rate, but may not exceed 8.3 inches per hour. | A post-construction infiltration test must be performed on each infiltration practice in the presence of District staff and must demonstrate that the constructed infiltration rate meets or exceeds the design infiltration rate standard prior to project acceptance by the District. Permittees may be required to mitigate if infiltration rates are found to exceed 8.3 in/hour.
3.3.1.1 Modeling Requirements | The runoff from pervious and impervious areas within the model shall be modeled separately. Atlas 14 rainfall depths for the site location and the MSE3 rainfall distribution shall be used. | The runoff from pervious and impervious areas within the model shall be modeled separately. The SCS Curve Number method must be employed, utilizing Atlas 14 or most current rainfall depths for the site location and the MSE3 rainfall distribution shall be used.
3.3.2.2 Peak Runoff Rate | When an existing regional stormwater management practice is proposed to manage stormwater runoff, the applicant shall show that the regional stormwater management practice has capacity to manage the stormwater runoff from the project site using Atlas 14 precipitation modeling standards; the applicant has permission to utilize any remaining capacity in the stormwater management practice; the stormwater management practice is subject to maintenance obligations enforceable by the District; and it is being maintained to its original design. | When an existing regional stormwater management practice is proposed to manage stormwater runoff, the applicant shall show that the regional stormwater management practice has capacity to manage the stormwater runoff from the project site using Atlas 14 or most current precipitation modeling standards; the applicant has permission to utilize any remaining capacity in the stormwater management practice; the stormwater management practice is subject to maintenance obligations enforceable by the District; and it is being maintained to its original design.
3.3.3.a. Pretreatment | An infiltration or filtration practice must be designed and maintained so that particulates settle before the stormwater discharges into the infiltration or filtration portion of the system. A pretreatment device such as a vegetated filter strip, small sedimentation basin, or water quality inlet (e.g., grit chamber) must be included in the design and sized according to MPCA Stormwater Manual guidance. The use of manufactured treatment devices must be supported by data sufficient to document that the device removes at least 80% TSS. | An infiltration or filtration practice must be designed and maintained so that 80 percent TSS is removed before the stormwater discharges into the infiltration or filtration portion of the system. A pretreatment device such as a vegetated filter strip, small sedimentation basin, or water quality inlet (e.g., grit chamber) must be included in the design and sized according to MPCA Stormwater Manual guidance.
3.3.3.c. Soils Report | If a stormwater management practice depends on the hydrologic properties of soils (e.g., infiltration basins), then a soils report shall be submitted. The soils report shall be based on on-site boring logs or soil pit profiles. The number and location of required soil borings or soil pits shall be determined based on what is needed to determine the suitability and distribution of soil types present at the location of the control measure. | A soils report shall be submitted. The soils report shall be based on on-site boring logs or soil pit profiles. The number and location of required soil borings or soil pits shall be determined based on the table provided in Appendix E. Boring logs must be referenced to the NAVD 1988 datum. Soil borings or pits submitted as part of the soils report must have been completed within the last 5 years.
3.3.3.d Preconstruction Infiltration Testing | None - new language | For applications proposing infiltration, pre-construction field evaluation of soil infiltration rates in accordance with ASTM 3385 for double ring infiltrometer testing or other approved method is highly encouraged. Post construction infiltration testing may be waived if pre-construction infiltration testing is conducted and infiltration practices are designed accordingly.
3.3.4.2 In-Kind | Runoff from undisturbed impervious surface not being treated prior to the same receiving water or required by section 3.3.3 may be treated in-kind for new or fully reconstructed impervious surface. Except for Public Linear projects, the in-kind area may not exceed 15 percent of the proposed new or fully reconstructed impervious surface. | Runoff from existing, undisturbed impervious surface that is not being treated prior to the same receiving water and not required to be treated by section 3.3.3 may be treated in-kind for new or fully reconstructed impervious surface not to exceed 15 percent of the proposed new or fully reconstructed impervious surface. Public linear projects are not limited to the maximum 15 percent.
3.3.5.1 Discharges into Wetlands | Discharges into wetlands should not cause extreme fluctuations of water levels. Discharges that exceed the standards below shall be considered and regulated as adverse impact. Mixed type wetlands must conform with the most restrictive standard. Wetland susceptibility classifications can be found in Appendix D. | Activity subject to this rule must not cause extreme fluctuations of water levels. Bounce in water level, duration of inundation, and runout elevation must not deviate from the standards shown in the table below for any wetlands in which surface hydrology is altered as a result of the project. Mixed type wetlands must conform with the most restrictive standard. Wetland susceptibility classifications can be found in Appendix D.
3.3.5.1 Discharges into Wetlands | In table - Discharge Rate standard | Removed
3.3.6. Landlocked Basins/Low Floor Freeboard | 3.3.6 Landlocked Basins - If a drainage system is proposed to outlet to a landlocked basin, sufficient storage volume must be provided to retain back-to-back 100-year, twenty-four-hour rainfalls and runoff. 3.3.7 Low Floor Freeboard - New development including buildings and habitable structures, and stormwater management practices shall be constructed such that the lowest basement floor elevations are at least 2 feet above the 100-year high water level or 1 foot above the emergency overflow. The freeboard criteria may be deemed met when the structure does not have the required vertical separation but is protected from surface flooding to the required elevation by a berm or other natural or constructed topographic feature capable of providing flood protection. | 3.3.6 Low Floor Freeboard - For activity subject to this rule that may impact new or existing habitable structures, stormwater management practices shall be constructed such that the lowest basement floor elevations are at least 2 feet above the 100-year high water level and 1 foot above the emergency overflow. Basins that are landlocked must provide sufficient storage volume to retain back-to-back 100-year, twenty-four-hour rainfall runoff. Landlocked basins must be constructed such that the lowest basement floor elevations are at least 2 feet above the back-to-back 100-year high water level.
3.4.2.c Calculations Submittals to include: | Soil Curve Numbers or runoff coefficients | Use of the SCS Curve Number method
3.4.2.h Calculations Submittals to include: | None - new language | Documentation of 80 percent TSS removal at each discharge point from the project site and pretreatment methods, as applicable.
3.4.2.i Calculations Submittals to include: | Identification of existing and proposed drainage areas for each wetland basin, if applicable and the bounce and duration for all proposed stormwater discharges. | Identification of existing and proposed drainage areas for each wetland basin, if applicable and the bounce and duration for existing and proposed stormwater discharges.
3.4.3 Soils Submittals | If a stormwater management practice depends on the hydrologic properties of soils (e.g., infiltration basins), then a soils report shall be submitted. The soils report shall be based on on-site boring logs or soil pit profiles. The number and location of soil pits shall be based on MPCA guidance, also provided in Appendix E. Boring logs must be referenced to the NAVD 1988 datum. | A soils report shall be submitted. The soils report shall be based on on-site boring logs or soil pit profiles. The number and location of required soil borings or soil pits shall be determined based on the table provided in Appendix E. Boring logs must be referenced to the NAVD 1988 datum. Soil borings or pits submitted as part of the soils report must have been completed within the last 5 years.
3.4.4 Contaminated Soils Submittals | If contaminated soils are present, a contaminated soils assessment must also be submitted. | If infiltration practices are proposed to meet the requirements of this rule, a contaminated soils assessment checklist or Phase 1 Environmental Site Assessment must be submitted.
3.4.6 Landscaping Plan Submittals | The applicant must present a detailed plan for management of vegetation at the site after construction is finished, including: a. The party(ies) responsible for the maintenance of vegetation at the site. b. The practices that will be employed to ensure that adequate vegetative cover is preserved. | The applicant must present a detailed plan for management of vegetation at the site after construction is finished, including: a. The party(ies) responsible for the maintenance of vegetation at the site. b. The practices that will be employed to ensure that adequate vegetative cover is established, including within vegetated stormwater BMPs.
4.3.1 ESC Plan Requirements | Soils with a soil erodibility factor of 0.15 or greater must be stabilized within 24 hours. | Removed
4.3.1.c ESC Plan Requirements | Permanent or temporary stabilization of disturbed areas must be initiated immediately and be fully stabilized within 7 days after construction activity has permanently or temporarily ceased. | Permanent or temporary stabilization of disturbed areas must be initiated immediately when construction activity has permanently or temporarily ceased on any portion of the site and will not resume for a period exceeding 7 days. Stabilization must be completed no later than 7 days after construction activity has ceased.
4.3.3 BMP Maintenance | None - new language | While land disturbing activity is in progress, the approved Erosion and Sediment Control Plan must be followed. Erosion and Sediment Control measures in place must be maintained and repaired in accordance with the plan. Additional or alternative measures may be required based on actual site conditions.
4.3.4 BMP Removal | None - new language | Temporary sediment control measures must remain in place until the site is permanently stabilized with at least 70 percent uniform density of expected vegetation.
7.2.3 Drainage Rule Scope and Applicability | All land disturbing activities which construct, improve, repair or alter the hydraulic characteristics of a conveyance system that extends across two or more parcels of record not under common ownership and has a drainage area of 200 acres or greater, including by placing or altering a utility, bridge or culvert structure within such a system. No permit is required to repair or replace an element of a conveyance system owned by a government entity when the hydraulic capacity of the system will not change. | All land disturbing activities which construct, improve, repair or alter the hydraulic characteristics of a private ditch system that extends across two or more parcels of record not under common ownership and has a drainage area of 200 acres or greater, including by placing or altering a utility, bridge or culvert structure within such a system. No permit is required to repair or replace an element within a private ditch system owned by a government entity when the hydraulic capacity of the system will not change.
8.2.2 Buffer Rule Scope and Applicability | None - new language | Standards do not apply to linear projects or projects that only consist of grading activities.
Appendix A: Definitions | Definitions for "Building" "Conveyance System" "Flow Velocities" "Function" "Growing Season" Hydric Soil" "Redevelopment" and "Stream Order" | All removed due to not being used in the rules anymore
Appendix A: Definitions | Inundation Period: the period of time from the high water level within the wetland from additional stormwater discharged during a storm event to the existing normal water level. | Inundation Period: The period of time that the storm water temporarily stored in a wetland exceeds the normal water elevation of the wetland.
Appendix A: Definitions | New definition | Site: A parcel or contiguous parcels of record on which activity subject to these rules is proposed. For linear projects, site means the area defined by the project’s construction limits.
Appendix C: Conversion Factors | Stormwater ponds must be designed in accordance with the Minnesota Stormwater Manual. | Stormwater ponds must be designed in accordance with the Minnesota Stormwater Manual. To ensure removal of 80 percent TSS, wet ponds must be at least design-level 2 according to the Minnesota Stormwater Manual. Level 2 ponds must meet the following criteria: 1. Dead (or permanent) storage of at least 1800 cubic feet per acre of drainage area. 2. Permanent storage volume must reach a depth of at least 3 feet and must have no depth greater than 10 feet. 3. Discharge rate of the water quality volume does not exceed 5.66 cubic feet per second per acre of surface area of the pond. 4. Flow path length to pond width ratio is 1:1 to 3:1. A ratio of 3:1 is recommended.
OTHER FEEDBACK
Rule | Suggested Revision or Feedback