## Middle River
[23 empty] | Designated Use Assessments | [13 empty] | Parameter Level Reviews
Year | Waterbody ID (WID) | STATUS | RETIRED_DATE | Waterbody type | HUC 8 | HUC_12_AGG | SENATE_DISTRICT | HOUSE_DISTRICT | IMPAIRED | LARGE_RIVER | GREAT_RIVER | Partially/Wholly on Tribal land | Reservation Name | CITY | County | BASIN | Name of Waterbody | Description of Waterbody | Length of WID (mi) | Area of WID (acres) | Current Use Class Designations | Proposed Use Class Designations | Aquatic Life | Aquatic Recreation | Aquatic consumption | Drinking Water | FINAL_ASSESS_WR | Limited Resource | WAT Follow-up | Additional Monitoring | Nearly/ Barely? | CARRY_FORWARD_STATUS | DFCHAN_STATUS | RECLAS_ASSIGNED | New Impairments | Existing Impairments | Cl | DO | E. coli | Fish IBI | IBI_FISH_SUPPORTING_INFO | Invert IBI | IBI_INVERTS_SUPPORTING_INFO | NO2-NO3 | pH | TSS | Unionized Ammonia | BOD | Chl-a | Color | Total Phos | Secchi | DO Flux | Alkalinity | S-tube | Uncorrected Chl-a | Lake Fish IBI | ANTIMONY | CHROMIUM | CHROMIUM_VI | CHROMIUM_III | COBALT | SILVER | THALLIUM | ALUMINUM | ARSENIC | CADMIUM | COPPER | LEAD | MERCURY | NICKEL | SELENIUM | ZINC | TURBIDITY | FECAL_COLIFORM | TURBIDITY_TTUBE_TSS | PCA Assessment Team Comments | Aquatic Life Desktop Reviewer Comments | Aquatic Rec Desktop Reviewer Comments | Aquatic Consumption Desktop Reviewer Comments | Drinking Water Desktop Reviewer Comments | WR_COMMENTS | Limited Resource Value Desktop Reviewer Comments | REVIEW_REQ
| 07010203-728 | Active |  | Stream | 07010203 | 0701020301-01 |  |  | Y | Y | N |  |  | Saint Cloud | Stearns | UM | Mississippi River | Sauk R to Clearwater R | 16.32 |  | 1C, 2Bdg |  | FS | FS | NS | LS | [5 empty] | N | N |  |  | Mercury in fish tissue | MTS | IF | MTS | MTS | NA | MTS | NA | MTS | MTS | IF | MTS |  | MTS |  | MTS |  |  |  | MTS | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): Fully supporting due to chemistry parameters. Fully supporting for AQL due to inverts and fish biodiversity. Overall fully supporting for AQL. ¦ 03/19/2026 (DW): No exceedances of MCLs for PFAS. Nitrate is meeting the DW standard. Limited support for DW. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/04/2026 (FISH): Two biological monitoring stations with assessable data were located on this 16 mile long, general use AUID of the Mississippi River. Station 13UM032 and 13UM007 were visited in September of 2024. The northern rivers fish index of biotic integrity (FIBI) was applied to both visits. The FIBI score exceeded the upper confidence interval at station 13UM032 and was exceptional at station 13UM007. The biological condition gradient was tier 2 for both visits. Similar numbers of species (19-20) were collected at each station. Both samples contained high numbers of sensitive individuals, numerous lithophilic spawning taxa, and numerous insectivorous taxa. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 1 station with assessable macroinvertebrate data within the assessment window (13UM032). This station, located South of St. Cloud, is used to characterize a 16-mile section of the Mississippi from the Sauk River to the Clearwater River. In 2024, an IBI score of 65.4 with a BCG tier 4 community was observed. This score is well above the general use threshold and upper confidence interval. 24 total taxa were collected, with 13EPT taxa and 3 intolerant species. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/12/2026 (CHEM): This segment of the Mississippi River is assessed primarily on the data from 2 chemistry anchor sites, S007-336 (just downstream of St. Cloud) and S007-330 (upstream of Clearwater). The Central region river eutrophication standard is attained based on both phosphorus and chl-a in attainment. Max Chl-a value was 14.8 ug/L, versus the standard of 18. We lack the necessary early morning dissolved oxygen samples to properly assess this parameter. Overall, the dataset includes 24 samples with all meeting the 5 mg/L standard. The monitored TSS dataset has only 16 samples, below the 20 sample threshold needed for a Full-Support assessment. Discuss with WAT and PJG if a full support assessment for this parameter can be based on the Secchi Tube dataset (no exceedances in 31 observations) supported by the TSS dataset with a max value of 12 mg/L, versus the Central region standard of 30 mg/L. Remaining parameters of pH, unionized ammonia, and chloride are all meeting respective standards. | 02/12/2026 (AQR): E Coli dataset indicates attainment of standards, both the individual max and the monthly geometric mean. Max individual sample result was 790 counts / 100 mL, no samples exceeded the standard; max monthly geometric mean concentration was 117 (June), versus the standard of 126. Data suggest Full support for aquatic recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. | 03/20/2026 (DW): PFAS Class 1 Waters assessment: Limited support (LS) for drinking water (DW) use. No exceedances in PFOS, PFOA, PFNA, PFHxS, or HFPO-DA. Data quality is high with sufficient samples collected for assessment and impairment determinations. ¦ 03/16/2026 (DW): Drinking Water (DW): Limited support (LS) for drinking water use. The DW criterion for NO2NO3 is currently being met. A total of 32 samples were collected for NO2NO3 assessment across the two most recent years (2018 and 2024). None of the samples exceeded the DW criteria for NO2NO3 (IND: 10 mg/L). However, data is lacking for other parameters (NO2, NO3 and drinking water pesticide parameters) and as such, it is impossible to determine if these parameters are affecting DW use. From the assessment of drinking water, I would recommend LS. |  |  | N
| 07010203-729 | Active |  | Stream | 07010203 | 0701020306-01 |  |  | Y | Y | N |  |  | Otsego | Wright | UM | Mississippi River | Clearwater R to Crow R | 34.49 |  | 1C, 2Bdg |  | FS | FS | NS | LS |  |  | Requested |  |  | N | N |  |  | Fecal coliform, Mercury in fish tissue, PCBs in fish tissue | MTS | IF | MTS | MTS | NA | MTS | NA | MTS | MTS | MTS | MTS |  | MTS |  | MTS |  |  |  | MTS | [21 empty] | 03/19/2026 (DW): No exceedances of MCLs for PFAS. Nitrate is meeting the DW standard. Limited support for DW. ¦ 03/19/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Inconclusive information due to PFOS. Continued not support of AQC. ¦ 03/19/2026 (AQL): Needs Phos summary string corrected, as units were in error. Fully supporting due to water chem parameters. Fully supporting due to inverts and fish biodiversity. ¦ 03/19/2026 (AQR): Potential delisting for E. Coli | 03/04/2026 (FISH): Four biological monitoring stations with assessable data were located on this 34 mile long, general use AUID of the Mississippi River. Stations 13UM006, 13UM031, 13UM005, and 13UM004 were all visited in September of 2024. The northern rivers fish index of biotic integrity (FIBI) was applied to all visits. All FIBI scores were above the impairment threshold and below the upper confidence interval. The FIBI scores for station 13UM005 and 13UM006 were just below the upper confidence interval. The biological condition gradient (BCG) was tier 3 at station 13UM005 and 13UM004; the BCG was tier 2 a stations 13UM006 and 13UM031. Similar numbers of species (18-22) were collected at each station. Forty percent or more of the taxa in every sample consisted of insectivores. Lower numbers of sensitive taxa and lithophilic spawning taxa were present in most samples. The sample collected from station 13UM031 contained over 1,000 smallmouth bass. This hyper dominance of one species reduced individual percentage based metric scores and likely lead to a lower FIBI score for this visit. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 4 stations with assessable macroinvertebrate data within the assessment window (13UM006, 13UM005, 13UM031, 13UM004). These stations are used to characterize 34 miles of the Mississippi, from the Clearwater River to the Crow River. 13UM006 is the furthest upstream station on this WID, located near Hasty. This station was sampled in 2025, producing an IBI score of 65.2 with a BCG tier 4 community. 23 taxa were collected, with 13 EPT taxa, and 3 intolerant species. The next downstream station is 13UM005, located just upstream of Monticello. This station was sampled in 2024, producing an IBI score of 62.7 with a BCG tier 4 community. This samples composition was quite similar to the upstream station, with the same number of total taxa, EPT, and intolerants. 13UM031 is slightly downstream, between Monticello and Otsego. This station was sampled in 2025, producing an IBI score of 68.7, also with a BCG tier 4 community. 25 total taxa were collected, with 14 EPT and 3 intolerant species. The downstream most station on this WID is 13UM004, just upstream of the Crow River’s confluence. This station was sampled in 2024, producing an IBI score of 71.2 and a BCG tier 4 community. 29 taxa were collected including 15 EPT and 4 intolerants. Overall, scores in this section of the Mississippi are fairly consistent, with solid diversity and community composition. There are no exceedances of the general use threshold, and all scores are well above the upper confidence limit. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/13/2026 (CHEM): Chemistry dataset in this segment comes from 3 MPCA Anchor Sites, plus some ambient data from the cooling water intake of the Monticello Power plant. The phosphorus summary string in CARL is currently inaccurate (reporting a mean of 35,249 ug/L). A data transcription error occurred and the data were not properly converted to ppb before importing into CARL. The correct summer average total phosphorus concentration is 64 ug/L, in attainment of the Central Region standard. The response variable Chl-a is also in attainment, indicating that River Eutrophication criteria are attained in this reach. The dissolved oxygen dataset lacks the necessary early morning measurements to assess as fully supporting, so this assessment is insufficient information. A total of 31 samples all attained the 5 mg/L standard. The TSS and Secchi tube datasets do meet assessment-level data thresholds and indicate attainment of Central region standards, although there are much less data here than in upstream reaches. Remaining parameters chloride, pH, and unionized ammonia also have sufficient data to assess and are meeting respective standards. | 02/27/2026 (AQR): This segment was declared impaired for Fecal coliform bacteria based on data from historical sites S000-221 and S000-148 at the middle and upper portions of this current WID. The impairment was assessed on the historical, now retired WID -510. In 2015 WID -729 was assessed as fully supporting for AQR, but a delisting review from old WID -510 was not possible due to discrepancies on dates and sites sampled on the assessment of aggregated WID -729. In summary, the 2015 assessment included 90 mean samples dates primarily from 2 stations at the downstream areas of the WID, and showed 0 of 90 samples that exceeded the max standard, and 0 months that exceeded the geometric mean standard. This assessment includes data from 3 EQUIS sites (S004-308, S007-329, and S007-335) which are located in the middle to lower reaches of the WID. Similar to 2015, the data in total, and across sites individually, clearly indicates attainment of both portions of the E Coli standard. One site, S007-329 (downstream of the city of Elk River), was sampled in both the 2015 and 2026 assessment cycles, and indicates attainment of standards and support for AQR Use. The 2015 and 2026 AQR assessments of Full Support suggest a delisting review for the legacy fecal coliform impairment, given datasets 10 years apart show that E Coli standards are attained in this reach, and that stations in the two most recent assessment periods are downstream of the stations responsible for the original bacteria impairment in 2002. Discuss this finding with WAT and PJG (map of monitoring sites will be displayed). | 03/25/2026 (AQC): For Hg and PCBs in fish tissue, there are no new data following the 2025 statewide assessment. See below for CARL comment from 2025 statewide assessment. Fish Tissue - Aquatic consumption: Overall, this waterbody is Not Supporting (NS) aquatic consumption. Mercury in fish tissue: A total of 8 fish sample results from 2024 and 2018 were available for analysis within the 10-year assessment period (2014-2024). Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. Mercury in fish tissue concentrations of concern were found to exceed the Chronic Standard of 0.2 mg/kg but were less than the 0.572 mg/kg impairment threshold for some species. Category 4A impairment already exists on this WID from previous assessments. The existing impairment added in 1998 remains valid. PCBs in fish tissue: Available data on PCBs within the 10-year assessment period (2014-2024) were analyzed for impairment determinations. Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. The concentration of PCBs in fish tissue did not exceed MDH’s consumption threshold. The 90th percentile result value for Smallmouth Bass (SMB) did not exceed the advisory criteria of 0.22 mg/kg. However, category 5 impairment already exists on this WID from a previous assessment. The Impairment was added in 1998. The existing PCBs in fish tissue impairment remains valid. ¦ 03/20/2026 (AQC): PFOS in fish tissue assessment: Inconclusive information to make an aquatic consumption (AQC) assessment. | 03/20/2026 (DW): PFAS Class 1 Waters assessment: Limited support (LS) for drinking water (DW) use. No exceedances in PFOS, PFOA, PFNA, PFHxS, or HFPO-DA. Data quality is high with sufficient samples collected for assessment and impairment determinations. ¦ 03/16/2026 (DW): Drinking Water (DW): Limited support (LS) for drinking water use. The DW criterion for NO2NO3 is currently being met. A total of 50 samples were collected for NO2NO3 assessment across the three most recent years (2018, 2024 and 2025). None of the samples exceeded the DW criteria for NO2NO3 (IND: 10 mg/L). However, data is lacking for other parameters (NO2, NO3 and drinking water pesticide parameters) and as such, it is impossible to determine if these parameters are affecting DW use. From the assessment of drinking water, I would recommend LS. |  |  | N
| 07010206-805 | Active |  | Stream | 07010206 | 0701020607-01 |  |  | Y | Y | N |  |  | Fridley | Anoka | UM | Mississippi River | Crow R to Upper St Anthony Falls | 25.81 |  | 1C, 2Bdg |  | NS | FS | NS | LS |  |  | Requested |  |  | N | N |  |  | Fecal coliform, Mercury in fish tissue, Nutrients, PCBs in fish tissue | MTS | MTS | MTS | MTS | NA | MTS | NA | MTS | MTS | MTS | MTS | MTS | EXS |  | EXS |  |  |  | MTS |  |  |  | MTS |  |  |  | MTS | IC | IC | IC | MTS | MTS | MTS | IC | MTS | MTS | MTS |  |  |  | 03/30/2026 (AQR): After the WAT meeting, Carol Sinden completed additional analysis of the E coli datasets in the WID and concluded that an E Coli delisting review is appropriate. E Coli counts at the most robust monitoring stations both individually by station, and aggregated by monthly geometric means across the WID, show attainment of both measures of the E coli standard, and a decline in E Coli counts over the most recent 10 years of data. The original impairment listing in 2006 largely came from station UM862.8, new data this assessment cycle indicate monthly geometric means at this site are now meeting the standard. This finding, plus information that conditions at site S004-653 can periodically be non-representative of the Mississippi by the influence of Shingle Creek (an E Coli impaired watershed > 90 % urban land-use) further support this delisting request. MPCA assessment staff reached out to local experts at the Mississippi River Watershed Management Organization, who routinely collect monitoring data at many stations in this WID, for feedback on the influence of Shingle Creek at Site S004-653 (the only station that indicates impairment this assessment cycle). Site S004-653 is collected near shore by wading, and conditions there can create low or near stagnant flows, which could be a factor in the high bacteria counts. The WMO also investigated the influence of Shingle Creek in past studies and have concluded that "The inflow of Shingle Creek will have the effect of displacing Mississippi River flow toward the E. Bank as it mixes with the Mississippi River", and "Shingle Creek water quality has significance influence on the Mississippi River within the WMO area" - see https://www.mwmo.org/wp-content/uploads/2021/11/Big-River-Study.pdf ¦ 03/25/2026 (AQL): Two exceedances of ammonia but does not meet criteria for impairment. Continued exceedance of nutrients. Aluminum data shows a decreasing trend in recent years (2021-2025) with almost all samples except one below the CS: 125 ug/L; therefore, not eligible for impairment and determined inconclusive assessment. Fully supporting for AQL due to inverts and fish biodiversity. Overall assessment non-support due to continued nutrient impairment. ¦ 03/19/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Hg in water column has decreasing trend but does not yet meet criteria for delisting. Inconclusive information due to trace metals. Continued not support of AQC. ¦ 03/19/2026 (AQR): Potential delisting or correction for E. Coli. Need feedback from data collectors. Bacteria load from shingle creek might be influencing the exceedance at S004-653 due to proximity of tributary, and biasing overall impairment status on this WID. ¦ 03/19/2026 (DW): No exceedances of MCLs for PFAS. Nitrate is meeting the DW standard. Limited support for DW. | 03/25/2026 (CHEM): Metals – Aquatic Life: Assessment decision is Inconclusive for aquatic life. Data exist for most trace metals that MPCA assesses for aquatic life. With the exception of Aluminum all available data were meeting the applicable standard criteria. Aluminum had a total of 63 samples, with some concentration of concern found. From 2015 to 2020, there were several instances where the 4-Day average concentration for Aluminum exceeded the CS: 125 ug/L for any given three consecutive years. Following these periods of exceedance, there were several samples collected from 9/14/2020 to 9/22/2025 where conditions were being met. See the attached file for the daily average concentrations. The decreasing trend does not present a clear case of exceedance in recent years, thereby minimizing the capacity for an Aluminum impairment listing. Additional data is needed to confirm exceedances of the chronic standard. Recommend IC for AQL use. ¦ 03/19/2026 (INVERT): Thirteen biological invertebrate visits at four stations (UM8716, 13UM001, 13UM002, 13UM003), sampled between 2013 and 2024. All thirteen samples were collected using HD artificial substrate samplers, and this reach is being assessed using an IBI and threshold developed for this protocol. This reach was previously assessed with data that was collected using a qualitive multihabitat sampling technique, and an IBI and threshold that was developed for that protocol. Current samples at UM8716 score above the GU threshold, above the upper confidence limit; BCG 4, indicating moderate change in taxonomic structure, and ecosystem function largely maintained. Current sample at 13UM001 scores above the GU threshold, above the upper confidence limit; BCG 3, indicating minimal change in community structure and function, and minimal loss of native taxa. Previous HD visits from all stations, including 13UM002 and 13UM003, also score above the GU threshold, above the upper confidence limit. Samples show consistently high presence of POET and intolerant taxa across years. Previous visits using QMH samples showed support of the GU threshold. Recommend continued full support of the general aquatic life use, based on macroinvertebrate data. ¦ 03/04/2026 (FISH): Two biological monitoring stations with assessable data were located on this 26 mile long, general use AUID of the Mississippi River. Station 13UM003 and 13UM002 were visited in September of 2024. The northern rivers fish index of biotic integrity (FIBI) was applied to both visits. The FIBI score was above the upper confidence interval (CI) at station 13UM003. The FIBI score was above the impairment threshold and below the upper CI at station 13UM002. The biological condition gradient was tier 3 for both visits. Seventeen species of fish were collected at station 13UM003 and 12 were collected at station 13UM002. Both samples were dominated by smallmouth bass and contained similar numbers and types of sensitive taxa and insectivorous taxa (silver redhorse, shorthead redhorse, and northern hogsucker). Both samples also contained the same three very tolerant taxa. Recommend full support for aquatic life based on the fish community. ¦ 02/13/2026 (CHEM): Chemistry assessment in this segment is very robust including several long-term monitoring stations by the Met Council, MPCA, and other partners. This segment was assessed as impaired for nutrients during the last Large River assessment. This most current assessment confirms that finding. Monitored Total Phosphorus dataset continues to exceed the Central Region standard on average. Daily modeled phosphorus concentrations at the MPCA's WPLMN station in Anoka average 99 mg/L, essentially at the 100 ug/L standard, over 854 days over the last decade. The response variable chlorophyll-a also exceeds the standard, algal biomass has increased here compared to the segment immediately upstream. BOD on average is meeting the standard, although individual samples above the 2 mg/L standard are common, especially in summer. Per Guidance River Eutrophication standards again are not meeting Central region criteria in this segment. Dissolved oxygen dataset is clearly meeting standards based on both the early morning and overall very robust complete dataset of 432 samples - with none below the 5 mg/L standard. Monitored and modeled TSS datasets indicate attainment of the Central region standard (30 mg/L), these data are corroborated by a similarly robust Secchi tube that is consistently meeting the standard. Remaining datasets of parameters chloride, pH, and ammonia are also very strong and indicate attainment. the Ammonia dataset includes 2 of 2,851 measurements above the 40 ug/L chronic standard; one exceedance from 3/2/2023 of 57 ug/L dropped to < 1 ug/L (likely background) 1 hour later. | 02/27/2026 (AQR): Complex E Coli assessment, that is related to historical assessment of Non-support at retired WID -509. Station S004-652 at 53rd Ave. N. about 5 miles upstream of end of WID has been monitored for decades. Legacy impairment (2006) of Fecal Coliform Bacteria in WID-509 carried forward to current WID at 2015 assessment. 2015 assessment was NS based on 1 month exceeding geomean criteria. Subsequent assessments of robust datasets affirmed impairment in 2007, 20009, 2011, and 2013. This assessment again includes a very robust dataset of 785 sample dates with only 1% of samples exceeding the max standard of 1260, clearly indicating attainment of that portion of the standard. Geometric mean dataset includes data from April - Oct, per standard's applicability in recreational months, and all months meet the 126 standard. Geometric means range from 16 in April to a max of 90 in Sept. Data from the individual sample sites were also investigated. A total of 969 individual samples were collected over the past 10 years from 6 stations spaced across this 26-mile-long segment. One of these stations includes site S004-654 which was responsible for legacy Fecal Coliform impairment. All stations have less than 10% of samples that exceed the max. standard, most have <5 % exceedance rate. A total of 39 individual monthly geometric means were calculated from all 6 monitoring sites. Just one site has one month that exceeds the 126 standard - Site S004-653, with a September Geometric mean of 388 colonies. This site appears to be immediately downstream of and close to the confluence with Shingle Creek - discuss the representativeness of this site to assess conditions in the WID, and the merits of a bacteria delisting overall with the WAT and PJG. | 03/25/2026 (AQC): Metals – Aquatic Consumption: Assessment decision is Inconclusive for aquatic consumption. A total of 206 samples from 2015 -2025 were available for Arsenic, Mercury and Thallium assessment. Concentrations of concern were found for each parameter, with no clear path to impairment determinations. Data quality is good, but the assessment results were conflicting. Thus, the standard criteria for the aforementioned aquatic consumption parameters alternate between exceedance of the Chronic standard and a couple of years where conditions are being met. For instance, some mercury concentrations exceeding the chronic standard (CS: 6.9 ng/L) were found sporadically in 2017, 2018 and 2019. However, recent years of data from 2020 show no exceedances of the chronic standard. Additionally, in the case of Thallium, the sample results exceeding the chronic standard (CS: 0.28ug/L) were also flagged as NOT based on sample quantification. The observed result value of 0.5 is a generalized number with the actual concentration results described as below 0.5 ug/L. While 0.5 ug/L is above the chronic standard, actual sample concentration measurements, which could be below or above 0.28 ug/L, cannot be determined at this time. These parameters will be monitored for impairment determinations and potential future listing, where applicable. Recommend IC for AQC use. For Hg and PCBs in fish tissue, there are no new data following the 2025 statewide assessment. See below for CARL comment from 2025 statewide assessment. Fish Tissue - Aquatic consumption: Overall, this waterbody is Not Supporting (NS) aquatic consumption. Mercury in fish tissue: A total of 7 fish sample results from 2024 were available for analysis within the 10-year assessment period (2014-2024). Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. Mercury in fish tissue concentrations of concern were found to exceed the Chronic Standard of 0.2 mg/kg but were less than the 0.572 mg/kg impairment threshold for some species. Category 4A impairment already exists on this WID from previous assessments. The existing impairment added in 1998 remains valid. PCBs in fish tissue: Available data on PCBs within the 10-year assessment period (2014-2024) were analyzed for impairment determinations. Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. The concentration of PCBs in fish tissue did not exceed MDH’s consumption threshold. The 90th percentile result value for Smallmouth Bass (SMB) and Common Carp (CAP) did not exceed the advisory criteria of 0.22 mg/kg. However, category 5 impairment already exists on this WID from a previous assessment. The Impairment was added in 2002. The existing PCBs in fish tissue impairment remains valid. ¦ 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. | 03/16/2026 (DW): Drinking Water (DW): Limited support (LS) for drinking water use. The DW criteria for NO2NO3, NO2 and NO3 are currently being met. A total of 3730 samples were collected for NO2NO3, NO2 and NO3 assessments across the 10 most recent years (2015-2025). None of the samples exceeded the DW criteria for NO2NO3 (IND: 10 mg/L), NO2 ( IND: 1 mg/L) and NO3 (IND: 10 mg/L). However, data is lacking for other parameters (drinking water pesticide parameters) and as such, it is impossible to determine if these parameters are affecting DW use. From the assessment of drinking water, I would recommend LS. |  |  | N
See Beneficial Use tab for translations.

## Upper River
[23 empty] | Designated Use Assessments | [13 empty] | Parameter Level Reviews
Year | Waterbody ID (WID) | STATUS | RETIRED_DATE | Waterbody type | HUC 8 | HUC_12_AGG | SENATE_DISTRICT | HOUSE_DISTRICT | IMPAIRED | LARGE_RIVER | GREAT_RIVER | Partially/Wholly on Tribal land | Reservation Name | CITY | County | BASIN | Name of Waterbody | Description of Waterbody | Length of WID (mi) | Area of WID (acres) | Current Use Class Designations | Proposed Use Class Designations | Aquatic Life | Aquatic Recreation | Aquatic consumption | Drinking Water | FINAL_ASSESS_WR | Limited Resource | WAT Follow-up | Additional Monitoring | Nearly/ Barely? | CARRY_FORWARD_STATUS | DFCHAN_STATUS | RECLAS_ASSIGNED | New Impairments | Existing Impairments | Cl | DO | E. coli | Fish IBI | IBI_FISH_SUPPORTING_INFO | Invert IBI | IBI_INVERTS_SUPPORTING_INFO | NO2-NO3 | pH | TSS | Unionized Ammonia | BOD | Chl-a | Color | Total Phos | Secchi | DO Flux | Alkalinity | S-tube | Uncorrected Chl-a | Lake Fish IBI | ANTIMONY | CHROMIUM | CHROMIUM_VI | CHROMIUM_III | COBALT | SILVER | THALLIUM | ALUMINUM | ARSENIC | CADMIUM | COPPER | LEAD | MERCURY | NICKEL | SELENIUM | ZINC | TURBIDITY | FECAL_COLIFORM | TURBIDITY_TTUBE_TSS | PCA Assessment Team Comments | Aquatic Life Desktop Reviewer Comments | Aquatic Rec Desktop Reviewer Comments | Aquatic Consumption Desktop Reviewer Comments | Drinking Water Desktop Reviewer Comments | WR_COMMENTS | Limited Resource Value Desktop Reviewer Comments | REVIEW_REQ
| 07010101-753 | Active |  | Stream | 07010101 | 0701010102-01 |  |  | Y | Y | N |  |  |  | Beltrami | UM | Mississippi River | Headwaters to Schoolcraft R | 58.17 |  | 2Bg |  | FS | FS | NS |  | LS |  |  |  |  | N | N |  |  | Mercury in fish tissue | MTS | NA | MTS | MTS | NA | MTS | NA |  | MTS | MTS | MTS |  | MTS |  | IC |  |  |  | MTS | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): No changes in impairments since 2015. DO is naturally low and influenced by wetlands. Phosphorus is slightly in exceedance of the standard, but Ch-a is low and meeting, so no RES impairment. Full support for AQL based on inverts and fish. ¦ 03/19/2026 (AQR): Fully supporting AQR. ¦ 03/10/2026 (WR): Assessed for sulfate; no concentrations of concern found. Reported sample results values meet the individual standard (IND: 10 mg/L). The recommended wild rice sulfate assessment decision is LS. | 03/04/2026 (FISH): Four biological monitoring stations with assessable data were located on this 58 mile long, general use AUID of the Mississippi River. The northern streams fish index of biotic integrity (FIBI) was applied to all visits at each station. Station 10EM113 was visited in July of 2024. The FIBI score was equal to the impairment threshold and below the upper confidence interval. The biological condition gradient (BCG) was tier 4. Eighteen species of fish were collected. Multiple generalist taxa and serial spawning taxa along with few intolerant individuals were present in the sample. Station 00UM010 is a long term biological monitoring site that was visited in July of 2017, 2019, 2021, 2022, and 2024. The 2019, 2021, and 2022 visit FIBI scores were above the impairment threshold and below the upper confidence interval. The 2017 FIBI score exceeded the upper confidence interval and the 2024 FIBI score was equal to the upper confidence interval. The BCG varied from 2 to 4 across all five visits. Most samples contained 15 – 20 species of fish and were dominated by high numbers of common shiners. Higher numbers of sensitive taxa and lithophilic spawning individuals were present in most samples. Station 13UM030 was visited in August of 2024. The FIBI score was above the impairment threshold and below the upper confidence interval. The BCG was tier 5. Nineteen species of fish were collected. The sample was dominated by high numbers of juvenile black bullhead and common shiners – two generalist species. Several intolerant taxa and good numbers of sensitive, insectivorous individuals were also present in the sample. Station 13UM029 was visited in September of 2025. The FIBI score exceeded the upper confidence interval. The BCG was tier 4. Eleven species of fish were collected; four of these were insectivores, including blackchin shiner which are also an intolerant species. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (00UM010, 10EM113, 13UM029). These stations are used to characterize the upstream most 58 miles of the Mississippi River, from Lake Itasca to the Schoolcraft River confluence. Station 10EM113 is the furthest upstream monitoring location sampled in cycle II. It is located off county Rd 9, adjacent to La Salle Lake. A QMH sample was collected at this location in 2024, producing an IBI score of 73.3 with a BCG tier 3 community. This score falls well above the general use threshold and upper confidence interval. Despite a slight hyperdominance of Black Fly larva, 19 POET taxa were present, including a wide array of Mayfly taxa. The next downstream station with macroinvertebrate data is 00UM010, which is part of the long term biological monitoring network. This station, located off 510th street, has been sampled 4 times within the assessment window (2017, 2020, 2022, 2024). Scores have ranged from 73.2-83.4 over these sampling events, all of which are well above the general use threshold (53). Diverse POET assemblages have been observed, with numerous intolerant species represented. The final station on this WID with assessable data in cycle II is 13UM029, which is near Bemidji, off Jefferson Ave. 13UM029 was sampled in 2024, producing an IBI score of 62.7 with a BCG tier 3 community. 15 EPT taxa were collected, including 2 intolerant taxa. This sample was also dominated by Black Fly larva, but intolerant Caddisfly taxa such as Neureclipsis and Chimarra were present in the sample, and the community appears healthy. Overall, there are 6 samples within the assessment window, all of which easily surpass general use standards. Expired data has also indicated conditions on this section of the Mississippi River are good, and macroinvertebrates are healthy. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/04/2026 (CHEM): Chemistry dataset in this high quality headwaters reach is very similar to the 2015 Cycle 1 assessment. River eutrophication dataset indicates phosphorus mean concentration is slightly above the 50 ug/L standard, but the 10-year average of 97 samples is influenced by one large outlier concentration (302 ug/L from 8/11/2025, during a period of drought). Most exceedances are short-term and occur during high flow in spring, or during lower flow conditions in later summer, which likely reflect natural conditions in this high quality forested and wetland environment. Robust daily modeled TP dataset from site S001-897 has 976 samples over the last decade, mean concentration is 53.9 ug/L, similar to EQUIS dataset. Response variable is limited to Chl-a, and clearly indicates low productivity and attainment of eutrophication standards. This reach of the Upper Mississippi River historically was approved for natural background for exceedances of the DO standard, but this was changed by policy in 2015, with the initiation of a formal Wetland Influence Review process. In 2015 Dissolved oxygen was not assessed, per this policy; suggest the same finding occur in this assessment for consistency purposes, although the robust Pre-9AM dataset suggests attainment of the DO standard, the entire DO dataset slightly exceeds the 10% impairment threshold, with several summer readings later in the day around 4 to 4.5 mg/L. Robust TSS and Secchi tube datasets clearly indicate attainment of the regional TSS standard. Robust Daily modeled TSS dataset includes over 1400 values, with a mean concentration of 2.94 mg/L; well below the 15 mg/L standard. Unionized ammonia dataset has consistently low concentrations as well and indicates attainment of that standard. | 02/03/2026 (AQR): Dataset clearly indicates attainment of E Coli standards, consistently low concentrations, max individual sample result is 72 counts / 100 mL. Despite being 1 sample short for a full assessment, data indicate Full Support for Aquatic Recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  | 03/10/2026 (WR): Sulfate Assessment: Limited Support (LS) for wild rice designated use. Based on MPCA's assessment methodology, the state water quality standard for sulfate in wild rice waters is being met. Assessment data exist across two years (2018 and 2024), accounting for a total of 15 samples. None of the samples collected and tested for sulfate on this WID exceeded the sulfate standard (IND: 10 mg/L). Measured sulfate concentrations were very low, with the highest result value of 1.61 mg/L. Data quality is good with sufficient samples available for assessment and impairment determinations. Recommends LS for WR designated use. |  | Y
| 07010101-754 | Active |  | Stream | 07010101 | 0701010105-01 |  |  | Y | Y | N | Partially | Leech Lake |  | Beltrami | UM | Mississippi River | Schoolcraft R thru Cass Lk (04-0030-00) | 32.85 |  | 2Bg |  | FS | FS | NS | [6 empty] | N | N |  |  | Mercury in fish tissue | MTS | MTS | MTS | MTS | NA | MTS |  |  | MTS | MTS | MTS |  | MTS |  | MTS |  |  |  | MTS | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue information to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): Fully supporting for chemistry parameters for AQL. Fully supporting for inverts and fish diversity. First assessment of this WID did not have presence of zebra mussels, and now there is recorded presence according to Phil Votruba. ¦ 03/19/2026 (AQR): Fully supporting for bacteria for AQR. | 03/04/2026 (FISH): One biological monitoring station with assessable data was located on this 33 mile long, general use AUID of the Mississippi River. Station 13UM028 was visited in July of 2025. The northern rivers fish index of biotic integrity score exceeded the upper confidence interval. The BCG was tier 4. Fourteen species of fish were collected. Over half of the species sampled consisted of non-tolerant insectivores (i.e., bluegill, yellow perch, johnny darter). Two intolerant taxa (blackchin shiner and logperch) and several other sensitive species were also present. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 1 station with assessable macroinvertebrate data within the assessment window (13UM028). This station is used to characterize a 33-mile section of the Mississippi from the Schoolcraft River through Cass Lake. This section is fairly long, but much of its course flows through lakes, including Lake Bemidji, Lake Andrusia, and Cass Lake. Station 13UM028 is located adjacent to County Rd 25, slightly upstream of Wolf Lake. A Hester Dendy sample was successfully collected in 2025 from this station, producing an IBI score of 83.9 with a BCG tier 3 community. This score is well above the general use threshold and upper confidence limit. The macroinvertebrate community was fairly diverse, with 39 total taxa, including the intolerant Caddisfly taxa Chimarra and a fairly high composition of Mayfly taxa. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/04/2026 (CHEM): High quality segment from Bemidji through Cass Lake. Most data comes from EQUIS stations downstream outlet of Stump Lake and upstream of Wolf Lake. In summary, chemistry dataset clearly indicates attainment of all parameters with sufficient data. Dissolved oxygen concentrations have improved from upstream segment, standards are attained based on pre-9AM dataset- with all values meeting the standard. Phosphorus concentrations have declined significantly compared to upstream segment - 753. Modeled daily TP and TSS datasets are robust and match EQUIS dataset. Chlorophyll-a dataset is meeting standard and indicates attainment of river eutrophication standards. Mean TP of modeled data is 22.9 ug/L, mean TSS of daily modeled data is just 1.3 mg/L. pH and Ammonia data also clearly meeting standards, no exceedances reported. | 02/03/2026 (AQR): Dataset clearly indicates attainment of E Coli standards, consistently low concentrations, max individual sample result is 115 counts / 100 mL. Despite being 1 sample short for a full assessment, data indicate Full Support for Aquatic Recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  |  |  | N
| 07010101-755 | Active |  | Stream | 07010101 | 0701010107-01 |  |  | Y | Y | N | Wholly | Leech Lake |  | Cass | UM | Mississippi River | Cass Lk (04-0030-00) thru Lk Winnibigoshish (11-0417-00) | 25.94 |  | 2Bg |  | NA | NA | NA |  | NA |  |  |  |  | N | N |  |  | Mercury in fish tissue |  | NA |  | NA | NA | NA | NA |  | NA | NA | NA |  |  |  | NA |  |  |  | NA | [21 empty] | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. ¦ 03/19/2026 (AQL): This waterbody is wholly within Leech Lake Band of Ojibwe boundaries. This is not formally assessed by MPCA but results were discussed with LLBO staff. | 03/04/2026 (INVERT): This general use reach of the Mississippi River has 1 station with assessable macroinvertebrate data within the assessment window (13UM027). This station is used to characterize the riverine section of the Mississippi River from Cass Lake to Winnibigoshish. A Hester Dendy sample was collected in 2024 from 13UM027, located off Three River Rd. The macroinvertebrate community produced an IBI score of 52.6, with a BCG tier 4 community. This score is well above the general use threshold and upper confidence interval. 13 EPT taxa were collected, including the intolerant Caddisfly taxa Neureclipsis. Mayfly diversity was quite good, and non-Hydropsychid Caddisfly diversity was also fairly good. This WID is located entirely within the Leech Lake Reservation, and a formal assessment will not be made. ¦ 03/04/2026 (FISH): One biological monitoring station with assessable data was located on this 26 mile long, general use AUID of the Mississippi River. Station 13UM027 was visited in July of 2024. The northern rivers fish index of biotic integrity score was exceptional. The biological condition gradient was tier 4. Twenty-one species of fish were collected. The sample contained 5 intolerant taxa and high numbers of sensitive, insectivorous individuals, including blackchin shiner, pugnose shiner, blacknose shiner, and mimic shiner. The fish community indicates support for aquatic life. This segment is located entirely within the Leech Lake Reservation and will not be assessed. ¦ 02/04/2026 (CHEM): Tribal Water of the Leech Lake Band, not assessed. |  | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  |  |  | N
| 07010101-756 | Active |  | Stream | 07010101 | 0701010109-01 |  |  | Y | Y | N | Partially | Leech Lake |  | Itasca | UM | Mississippi River | Lk Winnibigoshish (11-0147-00) to Cohasset Dam | 57.82 |  | 2Bg |  | FS | FS | NS |  | LS |  | Requested |  |  | N | N |  |  | Mercury in fish tissue | MTS | NA | MTS | MTS | NA | MTS | NA |  | MTS | IF | MTS |  | MTS |  | MTS |  |  |  | MTS | [21 empty] | 03/30/2026 (WR): LS for WR use. This WID related to coal ash spill in Black water creek and Black water lake which is an active enforcement case. See here for more information: https://www.mnpower.com/Environment/BlackwaterLakeRemediation ¦ 03/19/2026 (AQC): No new publicly available finalized 2025 Hg or PCB fish tissue data since 2025 assessment. Continued not support of AQC. ¦ 03/19/2026 (AQR): Fully supporting for AQR. ¦ 03/19/2026 (AQL): Partially within Leech Lake Band of Ojibwe (LLBO) boundaries. DO is naturally low due to wetland influences. Fully supporting for inverts and fish biodiversity. | 03/04/2026 (FISH): Three biological monitoring stations with assessable data were located on this 58 mile long, general use AUID of the Mississippi River. The northern rivers fish index of biotic integrity (FIBI) was applied to all visits. The biological condition gradient (BCG) was tier 2 at all visits except for station 13UM026, which was tier 3. Stations 13UM024, 13UM025, and 13UM026 were visited in July of 2024. All visit FIBI scores exceeded the upper confidence interval; the FIBI score at station 13UM025 was exceptional. A similar number of species (13 – 15) were collected at 13UM024 and 13UM026; twenty-one species were collected at station 13UM025. Data collected from station 13UM023 were not assessable due to impoundment characteristics created by the Cohasset Dam. This station was visited in August of 2024 and July of 2025. The 2024 FIBI score was exceptional and the 2025 FIBI score exceeded the upper confidence interval. Similar numbers (16 – 17) of species of fish were collected during both visits. Most samples from this WID contained numerous insectivorous, cyprinid individuals (blackchin shiner, blacknose shiner, spottail shiner) along with other sensitive species. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (13UM026, 13UM025, 13UM024). These stations are used to characterize a 58-mile section of the Mississippi from Lake Winnibigoshish to the Cohasset dam. 13UM026 is the furthest upstream station on this WID, located just upstream of the Leech Lake River confluence. This station was sampled in 2024, producing an IBI score of 55.1 with a BCG tier 4 community. 13UM025 is the next downstream station, located in Schoolcraft State Park. This site was also sampled in 2024, producing an IBI score of 50.9 with a BCG tier 4 community. The downstream most site on this WID is 13UM024, located downstream of State Highway 6. A duplicate sample was collected at this location in 2024, producing IBI scores of 73.7 and 68.3 with BCG tier 4 communities. Overall, each of these samples produced BCG tier 4 communities with IBI scores well above the general use threshold and upper confidence interval. EPT taxa were fairly abundant, and several intolerant taxa were observed. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/04/2026 (CHEM): This segment of the Mississippi River is partially shared with the Leech Lake Band. Segment is downstream of Lake Winnie and likely influenced by conditions in many upstream lakes. Most data came from MPCA sampling location S007-334, downstream of Cohasset. Phosphorus and Chlorophyll datasets clearly indicate attainment of river eutrophication standards. In the previous 2015 assessment, dissolved oxygen was not assessed, due to the influence of upstream wetlands, similar conditions occur in this dataset, with about 40% of the samples below the 5 mg/L; however most values are near 4 mg/L and occur in mid to late summer under lower flows and are likely natural in origin in this lower gradient segment. TSS dataset is slightly below the 20 samples needed to assess, but indicates low levels of sediment, corroborated by larger Secchi Tube dataset with all values > 90 centimeters in clarity . pH, chloride, and ammonia datasets indicate attainment of standards with no exceedances. To stay consistent with Cycle 1 assessment, suggest Aquatic Life assessment overall be based on biological conditions. | 02/04/2026 (AQR): Dataset clearly indicates attainment of E Coli standards, consistently low concentrations, max individual sample result is 18 counts / 100 mL. Despite being 1 sample short for a full assessment, data indicate Full Support for Aquatic Recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  | 03/10/2026 (WR): Sulfate Assessment: Limited Support (LS) for wild rice designated use. Following MPCA's assessment methodology, the state water quality standard for sulfate in wild rice waters is being met. Assessment data exist across four years (2018, 2020, 2021 and 2024), accounting for a total of 34 samples. None of the samples collected and tested for sulfate on this WID exceeded the sulfate standard (IND: 10 mg/L). Measured sulfate concentrations were low, with the highest result value of 5.93 mg/L. Data quality is good with sufficient samples available for assessment and impairment determinations. Recommends LS for WR designated use. |  | N
| 07010103-707 | Active |  | Stream | 07010103 | 0701010303-01 |  |  | Y | Y | N |  |  |  | Itasca | UM | Mississippi River | Cohasset Dam to Swan R | 43.27 |  | 2Bg |  | FS | FS | NS | [6 empty] | N | N |  |  | Mercury in fish tissue | MTS | IF | MTS | MTS | NA | MTS | NA |  | MTS | MTS | MTS |  | MTS |  | MTS |  |  |  | MTS | [14 empty] | MTS | [6 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): Fully supporting for AQL for chemistry parameters. Fully supporting for AQL for inverts and fish biodiversity. High quality reach. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/04/2026 (FISH): Four biological monitoring stations with assessable data were located on this 43 mile long, general use AUID of the Mississippi River. The northern rivers fish index of biotic integrity (FIBI) was applied to all visits. The biological condition gradient (BCG) was tier 2 at all visits except for station 13UM020, which was tier 3. Stations 13UM020, 13UM021, and 13UM022 were visited in August of 2024. Station 25EM106 was visited in September of 2025. The FIBI score at station 13UM020 was just above the impairment threshold and below the upper confidence interval. The FIBI score at 13UM021exceeded the upper confidence interval; the FIBI score at stations 13UM022 and 25EM106 were exceptional. Similar numbers of species (19-20) were collected at each visit, except at station 25EM106, where 26 species were collected. Numerous sensitive insectivorous taxa were present in most samples, along with good numbers of sensitive / intolerant individuals (mimic shiners) and lithophilic spawning taxa. A high number of detritivores (spotfin shiner) were present in the samples collected at station 13UM020 and 13UM021. Several very tolerant taxa (bigmouth shiner, black bullhead, bigmouth buffalo) present in the sample from station 13UM020 were not collected at other stations. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (13UM022, 13UM021, 13UM020). These stations are used to characterize a 43-mile section of the Mississippi River from the Cohasset Dam to the Swan River confluence just North of Jacobson. 13UM022 is the furthest upstream station on this WID, located just upstream of the Prairie River’s confluence on the East side of Grand Rapids. This station was sampled in 2024, producing an IBI score of 38.7 with a BCG tier 4 community. 13UM021 is the next downstream station, located North of Splithand. This station was also sampled in 2024, producing an IBI score of 38.2 with a BCG tier 4 community. The downstream most station on this WID is 13UM020, located slightly North of Jacobson. This station was also sampled in 2024, producing an IBI score of 28, with a BCG tier 6 community. Diversity at this downstream most location was fairly poor, with the majority of the sample being comprised of Hydropsychid taxa, but the presence of the intolerant Chimarra and several Stoneflies indicate water quality is healthy. This section of the Mississippi is slower flowing and scores at these three stations are somewhat lower than the upstream WIDs. Communities continue to support several intolerant and sensitive taxa, but the nature of the Mississippi changes in regard to gradient in this section and turbidity begins to increase in this area (TSS impairment on next downstream WID). Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/09/2026 (CHEM): Chemistry data in this segment was primarily evaluated from WPLMN station S003-656 near Grand Rapids, plus 3 other 10X stations. Monitored phosphorus and chlorophyll-a data clearly indicate attainment of river eutrophication criteria. Daily modeled phosphorus dataset includes 976 days from June- September over the assessment period- mean value is 27 ug/L, clearly meeting the regional standard of 50 ug/L. Dissolved oxygen dataset technically lacks the required number of Pre-9AM samples for a full support designation, larger overall dataset has only 6 of 137 samples below the 5 mg/L standard, with a minimum of 3.37 in July of 2018. Robust monitored and modeled TSS dataset also clearly indicate attainment of TSS standard. Mean modeled dataset from over 1400 observations is 1.6 mg/L with no days above 15 mg/L. Monitored TSS dataset has a higher mean value, but clearly indicates attainment. pH, chloride, and unionized ammonia datasets also indicate attainment of standards, no exceedances. High quality reach of the Mississippi River. | 02/09/2026 (AQR): Both individual and monthly geometric mean datasets clearly indicate E Coli standards at attained, consistently low concentrations. Full Support for Aquatic Recreation. | 03/25/2026 (AQC): Metals – Aquatic Consumption: Insufficient information to assess for aquatic consumption. Data exist for only mercury in water column. A total of 9 samples were available for Mercury assessment. All other aquatic consumption parameters, such as Antimony, Arsenic, Cobalt and Thallium are lacking data. Mercury in water column data exist across three years: 2017, 2021 and 2025 with no exceedances of the chronic standard (CS: 6.9 ng/L). Data quality is good but insufficient. Recommend IF for AQC use. For fish tissue assessment, there are no new data following the 2025 statewide assessment. See below for CARL comment from 2025 statewide assessment. Fish Tissue - Not Supporting (NS) aquatic consumption. This section of the Mississippi River was assessed for mercury and polychlorinated biphenyls (PCBs) in fish tissue. A total of 8 fish sample results from 2018 were available for analysis within the 10-year assessment period (2014-2024). All of the 8 sample results were associated with Channel Catfish (CCF). Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. Mercury in fish tissue concentrations of concern were found for CCF. The 90th percentile result value for CCF (0.292 mg/kg) exceeded the Chronic Standard of 0.2 mg/kg but was less than the 0.572 mg/kg impairment threshold. Category 4A impairment already exists on this WID from previous assessments. The existing impairment added in 1998 remains valid. On the contrary, no exceedances were found under PCBs. The 90th percentile result value for CCF did not exceed MDH’s fish consumption advisory threshold (0.22 mg/kg) under PCBs. Overall, the recommended use judgment decision is NS. ¦ 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  |  |  | N
| 07010103-708 | Active |  | Stream | 07010103 | 0701010309-01 |  |  | Y | Y | N |  |  |  | Aitkin | UM | Mississippi River | Swan R to Willow R | 60.13 |  | 2Bg |  | NS | FS | NS | [6 empty] | N | N |  |  | Mercury in fish tissue, Total suspended solids (TSS) | MTS | IF | MTS | MTS | NA | MTS | NA |  | MTS | EXS | MTS |  | MTS |  | EXS |  |  |  | EXS | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): AQL continues to be non-support due to TSS with non-point sources of sediment identified in TMDL. New data confirms impairment. Fully support of AQL for inverts and fish biodiversity. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/04/2026 (FISH): Three biological monitoring stations with assessable data were located on this 58 mile long, general use AUID of the Mississippi River. The northern streams fish index of biotic integrity (FIBI) was applied to all visits. Stations 13UM018, 13UM019, and 98UM006 were visited in August of 2024. The FIBI score exceeded the upper confidence interval at station 13UM018 and 13UM019, and was exceptional at station 98UM006. The biological condition gradient was tier 3 for all visits. A similar number of species (13 – 15) were collected at station 13UM018 and 13UM019; twenty-three species were collected at station 98UM006. At least half of the taxa collected at each station consisted of insectivores (> 60% at station 98UM006), including higher numbers of silver and shorthead redhorse. Numerous sensitive taxa were also present along with higher numbers of detritivorous individuals (spotfin shiner). Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (13UM019, 13UM018, 98UM006). These stations are used to characterize a 60-mile stretch of the Mississippi from the Swan River near Jacobson to the Willow River confluence. 13UM019 is the furthest upstream station on this WID, located near the confluence of Pokegama Creek. This station was sampled in 2024, producing an IBI score of 74.1 with a BCG tier 3 community. This community was dominated by the intolerant Caddisfly taxa Chimarra and contained 31 taxa overall. 13UM018 is the next downstream station on this WID, located just upstream of the Sandy River confluence. This station was also sampled in 2024, producing an IBI score of 43.5 with a BCG tier 4 community. Chimarra was again quite prevalent in the sample, but the number of Hydropsychids cause the score to be lower at this location compared to the upstream station. Diversity is somewhat worse but this community still appears healthy and meets standards. The downstream most station on this WID (98UM006), is located just outside of Palisade. In 2024, the IBI score was 48, with a BCG tier 5 community. Similar to the middle station on this WID, an abundance of Hydropsychid taxa is lowering the score and raising the BCG rank, but sensitive and intolerant taxa are present, and this score is still well above the general use threshold and upper confidence interval. Overall, there are no exceedances of the general use threshold at these three stations. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/09/2026 (CHEM): This reach of the Mississippi River was assessed as impaired for TSS in 2015; a similar sized dataset this cycle confirms that assessment / impairment. Data from site S003-663 (near Palisade) was used in both assessments. The TSS exceedances are relatively minor and consistently between 20 -40 mg/L; but 17 of 18 samples exceed the 15 mg/L Regional standard. The completed TMDL calls for a 62 % reduction in TSS from a variety of non-point sources, and describes complex issues such bed and bank erosion from glacial lake bed regions, and altered hydrology. The S-tube data from additional locations, including Volunteer monitoring sites sampled after high flow events, confirms periodic low water clarity below the 55 cm standard. the River eutrophication assessment, per guidance, is insufficient information. Phosphorus exceeds the standard on average (likely due to 1 sample > 100 ug/L), however the response variable chlorophyll-a is meeting the standard, indicating the elevated phosphorus is not being translated to excessive algal growth in this segment. Small datasets of pH, chloride, and unionized ammonia indicate attainment of their standards. A small dataset of Dissolved Oxygen is insufficient for assessment, only 1 Pre-9AM sample; 25 samples overall indicate standards are likely in attainment, but per guidance assessment can't be completed. Discuss with WAT and PJG if a Sonde deployment is needed to evaluate Dissolved Oxygen and complete an assessment. In summary, the chemistry dataset affirms the 2015 Non-support Aquatic Life designation and TSS impairment. | 02/09/2026 (AQR): Dataset indicates attainment of E Coli standards, consistently low concentrations; max individual sample result is 72 counts / 100 mL. The three summer months all are 1 sample short of the 5 needed for a geometric mean statistic, however mean values are well below the 126-count standard - all are < 15 colonies per 100 mL. , the preponderance of dataset indicate Full Support for Aquatic Recreation. | 03/25/2026 (AQC): For Hg and PCBs in fish tissue, there are no new data following the 2025 statewide assessment. See below for CARL comment from 2025 statewide assessment. Fish Tissue - Aquatic consumption: Overall, this waterbody is Not Supporting (NS) aquatic consumption. Mercury in fish tissue: A total of 23 fish sample results from 2015 and 2024 were available for analysis within the 10-year assessment period (2014-2024). Of the 23 sample results, 8 were associated with Northern Pike (NOP), 13 – Channel Catfish (CCF), and the remaining were composite result values from Silver Redhorse (SLR). Following MPCA’s fish tissue assessment guidance, both the 90th percentile and average estimation methods were used for impairment determination. Mercury concentrations of concern were found for all species assessed. The 90th percentile result value for CCF (0.716 mg/kg) and NOP (0.637 mg/kg) exceeded the Chronic Standard of 0.2 mg/kg impairment threshold. Category 4A impairment already exists on this WID from previous assessments. The impairment was added in 1998. A new category 5 impairment will replace the 4A listed. PCBs in fish tissue: A total of 9 fish sample results from 2014 and 2015 were available for analysis within the 10-year assessment period (2014-2024). All of the 9 sample results were associated with Channel Catfish (CCF). Following MPCA’s fish tissue assessment guidance, the 90th percentile estimation method was used for impairment determination. The 90th percentile result value did not exceed MDH’s fish consumption advisory threshold (0.22 mg/kg). ¦ 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  |  |  | N
| 07010104-655 | Active |  | Stream | 07010104 | 0701010404-01 |  |  | Y | Y | N |  |  |  | Aitkin | UM | Mississippi River | Willow R to Pine R | 54.4 |  | 2Bg |  | NS | FS | IF | [6 empty] | N | N |  |  | Mercury in fish tissue, Turbidity | MTS | MTS | MTS | MTS | NA | MTS | NA |  | MTS | EXS | MTS |  | MTS |  | EXS |  |  |  | EXS | [9 empty] | IC |  |  |  |  | MTS | [6 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. Meeting standards for Hg in water column. Overall assessment is IF ¦ 03/19/2026 (AQL): No significant trends for nitrate or sediment. Decreasing trend for phosphorus. No nutrient impairment due to no response in Ch-a. Not supporting due to TSS. Fully supporting due to inverts and fish biodiversity. Overall non-support for AQL. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/18/2026 (FISH): Three biological monitoring stations with assessable data were located on this 54 mile long, general use AUID of the Mississippi River. The northern streams fish index of biotic integrity (FIBI) was applied to all visits. Station 13UM017 was visited in August of 2024. Station 13UM016 was visited in August of 2024 and July of 2025. Station 00UM088 was visited in September of 2016 and in October of 2024. The FIBI score exceeded the upper confidence interval at all visits; the September 2016 visit FIBI score at station 00UM088 was exceptional. The biological condition gradient was tier 2 for all visits except at station 13UM017, which was tier 3. A similar number of species (13 – 17) were collected during most visits, with twenty-three species collected during the September visit to station 00UM088. Over 60% of individuals in most samples were non-tolerant, insectivorous species (various redhorse species, mimic shiner, spotfin shiner). Numerous lithophilic spawning taxa, including intolerant species such as greater redhorse, were present in most samples. Recommend full support for aquatic life based on the fish community. ¦ 03/18/2026 (CHEM): Metals – Aquatic Life: Assessment decision is Inconclusive for aquatic life. A total of 7 samples from 2023 were available for Aluminum assessment. Concentrations of concern were found, but not enough to determine exceedances of the chronic standard (CS: 125 ug/L). Data is also insufficient to determine if other parameters are affecting aquatic life use. Recommend IC for AQL use. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (13UM017, 13UM016, 00UM088). These stations are used to characterize 54 miles of the Mississippi from the Willow River to the Pine River. The furthest upstream station on this WID is 13UM017, located West of Hassman. This station was sampled in 2024, producing an IBI score of 73, with a BCG tier 4 community. The community was fairly diverse, with 30 taxa represented and 18 EPT taxa, but lacked intolerant species. The next downstream station is 13UM016, located near Dean Brook, downstream of Aitkin. In 2024 this site produced an IBI score of 47.4, with a BCG tier 4 community. Similarly to the upstream location, the sample was fairly diverse, with 24 taxa, but lacked intolerant species. The downstream most station (00UM088) is located off Hwy 6. This site was sampled twice in 2024, producing IBI scores of 45.1 and 32. Both of these scores are above the general use threshold, with several intolerant taxa present in each sample. Overall, this section of the Mississippi has no exceedances of the general use threshold and appears healthy. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/10/2026 (CHEM): This reach of the Mississippi River is the center of three with existing TSS impairments, covered under the Upper Mississippi River TMDL, completed in 2020. Robust datasets from two equis stations that were also part of past assessments, Sites S002-010 (WPLMN site near Aitkin), and S000-152 near Crosby confirm existing TSS / turbidity impairment. Daily modeled dataset is comprehensive, including 1464 values from April - September, with a mean of 20.6 mg/L, and an exceedance rate of the 15 mg/L standard at 69.8%. Monitored TSS dataset has a higher exceedance rate because of targeted high flow monitoring as part of WPLMN program. Secchi tube dataset confirms TSS assessment, has a range of clarity from > 100 cm to 15 cm. June to September mean concentrations of Monitored and modeled total phosphorus dataset exceed the standard. Response variable Chl-a is clearly in attainment of the standard, indicating the elevated phosphorus is not translating into a eutrophication concern. No samples exceed the 7 ug/L Northern Chl-a standard. Per guidance, River eutrophication assessment is insufficient information. Robust DO dataset clearly indicates attainment of the standard, 39 early morning samples, with no exceedances. remaining parameters, pH, chloride, and unionized ammonia are also clearly meeting retrospective standards. | 02/10/2026 (AQR): E coli dataset includes 13 samples from 2024 and 2018. We are two samples short of an assessment per guidance, and subsequently have only 4 samples per month in June and July. However, the dataset overall still suggests attainment of E Coli standards. Monthly geometric mean max is on 57, versus the standard of 126. Max individual sample was 308 in June of 2018, most samples are below 30 counts, well below the standard. Suggest Full Support for AQR Use, consistent with past assessment and environmental setting of this reach of the Mississippi River. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. ¦ 03/18/2026 (AQC): Metals – Aquatic Consumption: Insufficient information to assess for aquatic consumption. Data exist for only mercury in water column. A total of 9 samples were available for Mercury assessment. All other aquatic consumption parameters, such as Antimony, Arsenic, Cobalt and Thallium are lacking data. Mercury in water column data exist across three years: 2017, 2021 and 2025 with no exceedances of the chronic standard (CS: 6.9 ng/L). Data quality is good but insufficient. Recommend IF for AQC use. |  |  |  | N
| 07010104-656 | Active |  | Stream | 07010104 | 0701010405-01 |  |  | Y | Y | N |  |  |  | Crow Wing | UM | Mississippi River | Pine R to Crow Wing R | 33.21 |  | 2Bg |  | NS | FS | NS |  | LS |  |  |  |  | N | N |  |  | Mercury in fish tissue, Total suspended solids (TSS) | MTS | IF | MTS | MTS | NA | MTS | NA |  | MTS | EXS | MTS |  | MTS |  | EXS |  |  |  | IC | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): No nutrient impairment due to no response in Ch-a. Fully supporting for AQL due to invert and fish biodiversity. Overall non-support for AQL due to TSS impairment. ¦ 03/19/2026 (WR): Meeting sulfate standard. LS for wild rice use. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/04/2026 (FISH): Three biological monitoring stations with assessable data were located on this 33 mile long, general use AUID of the Mississippi River. Stations 13UM013 and 13UM033 were visited in September of 2024. Station 13UM015 was visited in August of 2024. The northern rivers fish index of biotic integrity (FIBI) was applied to all visits. The FIBI score exceeded the upper confidence interval at all visits. The biological condition gradient (BCG) was tier 3 at station 13UM013 and station 13UM033. The BCG was tier 2 at station 13UM015. Nineteen – 21 species of fish were collected at each visit. Over 60% of individuals in most samples were non-tolerant, insectivorous species. Numerous sensitive, lithophilic spawning taxa were present along with several serial spawning taxa. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (13UM015, 13UM033, 13UM013). These stations are used to characterize 33 miles of the Mississippi, from the Pine River to the Crow Wing River. 13UM015 is the furthest upstream station on this WID, located North of Riverton. This station was sampled in 2024 producing an IBI score of 84.1, with a BCG tier 4 community. 38 total taxa were collected, including 3 intolerant species, and Mayfly taxa were abundant. 13UM033 is the next downstream station, located right in Brainerd off highway 210, downstream of the Brainerd dam. In 2024. This station produced an IBI score of 20.9 with a BCG tier 6 community. Diversity was poor, with just 14 taxa and 7 EPT, which is reflected in the high BCG tier rating. While this score is just below the general use threshold it is within the lower confidence limit. The downstream most site on this WID is 13UM013. This station is located slightly upstream of the Crow Wing River confluence. In 2024 an IBI score of 59.5 with a BCG tier 4 community. 15 EPT taxa and 2 intolerant taxa were collected out of 22 total. Overall, the upstream and downstream stations on this WID are easily meeting criteria, with the middle site in Brainerd scoring just below the threshold but within the lower confidence limit. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/10/2026 (CHEM): This reach of the Mississippi is the most downstream of 3 segments with historical TSS impairments, covered under the 2020 Upper Mississippi River TSS TMDL. Assessment comes from 2 primary stations, also used in historical assessments - S007-337 and S000-570. TSS dataset is less robust than the upstream segment, but still confirms existing impairment, although TSS mean concentrations and exceedance rates have declined compared to upstream impaired segments. Stube dataset is slightly over the impairment threshold, and also indicates a general improvement in water clarity. Similar to the upstream reaches, phosphorus concentrations slightly exceed the regional eutrophication standard, but the response variable Chl-a is clearly meeting standards, indicating that the elevated phosphorus is not translating into a eutrophication concern. Per guidance, river eutrophication assessment is insufficient information. Similar to the 2015 assessment for dissolved oxygen, the assessment is insufficient information due to a low number of early morning samples. Entire DO dataset has only 3 of 46 samples below 5 mg/L, all only slightly below the standard ( ~ 4.7 mg/l). remaining parameters pH, chloride, and unionized ammonia are meeting respective standards. | 02/10/2026 (AQR): Dataset clearly indicates attainment of E Coli standards, consistently low concentrations, max individual sample result is 102 counts / 100 mL. Individual and monthly geometric mean datasets both indicate Full Support for Aquatic Recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  | 03/10/2026 (WR): Sulfate Assessment: Limited Support (LS) for wild rice designated use. Based on MPCA's assessment methodology, the state water quality standard for sulfate in wild rice waters is being met. Assessment data exist across four years (2018, 2020, 2021 and 2024), accounting for a total of 63 samples. None of the samples collected and tested for sulfate on this WID exceeded the sulfate standard (IND: 10 mg/L). Measured sulfate concentrations were low, with the highest result value of 8.33 mg/L taken on 9/21/2021. Recent samples from 2024 have shown significant declines in Sulfate concentrations. Data quality is good with sufficient samples available for assessment and impairment determinations. Recommends LS for WR designated use. |  | N
| 07010104-657 | Active |  | Stream | 07010104 | 0701010409-01 |  |  | Y | Y | N |  |  |  | Crow Wing | UM | Mississippi River | Crow Wing R to Crow Wing/Morrison County border | 10.68 |  | 2Bg |  | FS | NA | NS | [6 empty] | N | N |  |  | Mercury in fish tissue |  | IF |  | MTS | NA | MTS | NA |  | IF | IF | IF |  |  |  | IF |  |  |  | IF | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): Insufficient data on water chemistry. Fully supporting for AQL due to inverts and fish biodiversity. | 03/18/2026 (FISH): One biological monitoring station with assessable data was located on this 11 mile long, general use AUID of the Mississippi River. Station 13UM012 was visited in September of 2024. The northern river fish index of biotic integrity (FIBI) score was exceptional. The biological condition gradient was tier 2. Nineteen species of fish were collected. Seven sensitive taxa (including 4 intolerant species) were present in the sample along with moderate numbers of insectivorous individuals. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 1 station with assessable macroinvertebrate data within the assessment window (13UM012). This station is used to characterize 11 miles of the Mississippi from the Crow Wing River to the Fort Ripley area. 13UM012 is located towards the downstream end of this WID, near Fort Ripley. 13UM012 was sampled in both 2024 and 2025 producing IBI scores of 54.2 and 84.3 with BCG tier 4 and 3 communities respectively. Both of these scores are above the general use threshold, with intolerant taxa and upwards of 12 EPT taxa. The 2025 sample had better diversity and additional intolerant taxa. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/10/2026 (CHEM): Insufficient chemistry data to assess for Aquatic Life. |  | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. |  |  |  | N
| 07010104-658 | Active |  | Stream | 07010104 | 0701010409-01 |  |  | Y | Y | N |  |  |  | Morrison | UM | Mississippi River | Crow Wing/Morrison County border to Swan R | 19.38 |  | 1C, 2Bdg |  | FS | FS | NS | LS | [5 empty] | N | N |  |  | Mercury in fish tissue | MTS | IF | MTS | MTS | NA | MTS | NA | MTS | MTS | IF | MTS |  | MTS |  | EXS |  |  |  | MTS | [21 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQR): Fully supporting for AQR ¦ 03/19/2026 (DW): No exceedances of MCLs for PFAS. Nitrate is also meeting the standard. Limited Support for drinking water. ¦ 03/19/2026 (AQL): No nutrient impairment due to no response in Ch-a. Meeting TSS based on STube data. Fully supporting for AQL based on inverts and fish biodiversity. Overall fully supporting for AQL. | 03/18/2026 (FISH): Two biological monitoring stations with assessable data were located on this 11 mile long, general use AUID of the Mississippi River. Station 13UM010 was visited in September of 2024 and 2025. Sixteen fish species were collected in 2024 and 26 were collected in 2025. Station 13UM010 was visited in September of 2024. Twenty-two species of fish were collected. The northern rivers fish index of biotic integrity (FIBI) score was exceptional for both 2024 visits and almost exceptional for the 2025 visit. The biological condition gradient was tier 2 at all visits. Half of the individuals in every sample consisted of non-tolerant, insectivorous individuals. Higher numbers of sensitive individuals, including several intolerant species, and numerous lithophilic spawning taxa were present in the samples. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 2 stations with assessable macroinvertebrate data (13UM011, 13UM010). These stations are used to characterize 19 miles of the Mississippi from the Fort Ripley area to the Swan River confluence, downstream of Little Falls. 13UM011 is the upstream most location on this WID, near Camp Ripley Junction. In 2024, an IBI score of 94.5 with a BCG tier 4 community was observed. 38 total taxa, with 19EPT taxa and 2 intolerants were collected. This sample was numerically dominated by the intolerant caddisfly Chimarra. 13UM010, located slightly downstream from Little Falls, was also sampled in 2024, producing an IBI score of 74.7 with a BCG tier 3 community. 28 taxa were collected, with 19 EPT and 4 intolerants. Both of these stations produced robust macroinvertebrate communities with scores well above the general use threshold and upper confidence limit. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/11/2026 (CHEM): Chemistry data in this segment primarily comes from anchor sites S001-151 and S007-331, near Camp Ripley and Little Falls, respectively. Similar to many upstream reaches, phosphorus slightly exceeds the regional standard, but Chl-a is clearly in attainment, so the elevated phosphorus is not being translated into a eutrophication concern. Per guidance, the River Eutrophication assessment is insufficient information. Dissolved oxygen dataset is relatively small, at only 25 visits, although no samples below the 5 mg/L standard are noted, there are too few early morning samples to assess this parameter as meeting the standard. Monitored TSS dataset includes only 16 mean samples, so it is insufficient to assess. However, a very robust volunteer monitoring site of Secchi Tube Transparency near Little Falls (Site S003-822) clearly indicate attainment of the standard- this dataset includes over 250 measurements, over 10 years. Suggest TSS is in attainment based on the S-tube dataset. These datasets suggest a decline in TSS compared to the 3 impaired Segments upstream of this reach. Previous 2015 assessment of TSS and S-tube indicated attainment of the regional TSS standard. Remaining parameters, pH, unionized ammonia, and chloride are sufficient for assessment and indicate attainment of standards. | 02/10/2026 (AQR): Dataset indicates attainment of E Coli standards, consistently low concentrations, max individual sample result is 368 counts / 100 mL. All monthly geometric mean values are clearly meeting the 126-count standard. Despite being 1 sample short for a full assessment, data indicate Full Support for Aquatic Recreation. | 03/25/2026 (AQC): Fish Tissue - Not Supporting (NS) aquatic consumption. This section of the Mississippi River was assessed for mercury in fish tissue. A total of 20 fish sample results from 2019 were available for analysis within the 10-year assessment period (2015-2025). Of the 20 sample results, 10 were associated with Smallmouth Bass, and the remaining 10 samples came from Walleye. Following MPCA’s fish tissue assessment guidance, both the 90th percentile and average estimation methods were used for impairment determination. Mercury concentrations of concern were found for all species assessed. Average estimates were preferred over the 90th percentile because of the presence of an outlier in the data for Smallmouth Bass and the limited number of years for which data exist. The average mercury concentration value for Smallmouth Bass (0.521 mg/kg) and Walleye (0.303 mg/kg) exceeded the Chronic Standard of 0.2 mg/kg but were less than the 0.572 mg/kg impairment threshold. Category 4A impairment already exists on this WID from previous assessments. The existing impairment added in 1998 remains valid. ¦ 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. | 03/20/2026 (DW): PFAS Class 1 Waters assessment: Limited support (LS) for drinking water (DW) use. No exceedances in PFOS, PFOA, PFNA, PFHxS, or HFPO-DA. Data quality is high with sufficient samples collected for assessment and impairment determinations. ¦ 03/16/2026 (DW): Drinking Water (DW): Limited support (LS) for drinking water use. The DW criterion for NO2NO3 is currently being met. A total of 31 samples were collected for NO2NO3 assessment across the three most recent years (2018, 2024 and 2025). None of the samples exceeded the DW criteria for NO2NO3 (IND: 10 mg/L). However, data is lacking for other parameters (NO2, NO3 and drinking water pesticide parameters) and as such, it is impossible to determine if these parameters are affecting DW use. From the assessment of drinking water, I would recommend LS. |  |  | N
| 07010201-631 | Active |  | Stream | 07010201 | 0701020107-01 |  |  | Y | Y | N |  |  |  | Stearns | UM | Mississippi River | Swan R to Sauk R | 30.77 |  | 1C, 2Bdg |  | FS | FS | NS | LS | [5 empty] | N | N |  |  | Mercury in fish tissue | MTS | MTS | MTS | MTS | NA | MTS | NA | MTS | MTS | MTS | MTS |  | MTS |  | EXS |  |  |  | MTS | [9 empty] | MTS |  |  |  |  | MTS | [6 empty] | 03/20/2026 (AQC): No new 2025 Hg or PCB fish tissue data since 2025 assessment. Insufficient PFOS in fish tissue data to assess. Continued not support of AQC. ¦ 03/19/2026 (AQL): Mississippi near Royalton has 2008-2022 trends and they show decreasing phosphorus and no trend for NO3NO2 and TSS. Sartell has 2003-2022 and 2008-2022 trends that show no trends for TSS or NO3NO2 over either time period but decreasing phosphorus in both 2003-2022 and 2008-2022 time periods. Hg in water column is meeting. Fully supporting based on inverts and fish biodiversity. Overall fully support. ¦ 03/19/2026 (DW): No exceedances of MCLs for PFAS. Nitrate is meeting the DW standard. Overall limited support for DW. ¦ 03/19/2026 (AQR): Fully supporting for AQR | 03/18/2026 (CHEM): Metals – Aquatic Life: Insufficient information to assess for aquatic life use. Data exist for only Aluminum. A total of 14 samples were available for Aluminum assessment. Aquatic life parameters, such as Cadmium, Chromium, Copper, Nickle and Lead, among others, are lacking data. Aluminum data exist for a single year (2023) with no exceedances of the chronic standard (CS: 125 ug/L). Data quality is good but insufficient. Recommend IF for AQL use. ¦ 03/04/2026 (FISH): Five biological monitoring stations with assessable data were located on this 31 mile long, general use AUID of the Mississippi River. Station 00UM091and 13UM009 were visited in September of 2024. Station 13UM008 was visited in September of 2024 and 2025 (the 2024 visit was non-reportable). Station 15EM052 was visited in September of 2021 and station 25EM053 was visited in September of 2025. The northern rivers fish index of biotic integrity (FIBI) was applied to all visits. All visit FIBI scores exceeded the upper confidence interval. The FIBI scores from the 2025 visit to station 13UM008 and the 2021 visit to station 15EM052 were exceptional. The biological condition gradient (BCG) was tier 2 for all visits except for the visit to station 13UM009, which was tier 3. Fourteen to 17 species of fish were collected at stations 00UM091, 13UM009, and 13UM008. Twenty to 22 species were collected at station 15EM052 and 25EM053. Over 40% of the individuals collected at stations 13UM008, 15EM052, and 25EM053 were sensitive species. Many of these were also lithophilic spawning species. The samples collected from station 00UM091 and 13UM009 contained fewer sensitive individuals but still featured similar numbers of insectivorous individuals. Intolerant species, such as log perch, burbot, and mimic shiner were also present in these samples. Recommend full support for aquatic life based on the fish community. ¦ 02/19/2026 (INVERT): This general use reach of the Mississippi River has 3 stations with assessable macroinvertebrate data within the assessment window (15EM052, 25EM053, 13UM009). These stations are used to characterize 31 miles of the Mississippi from the Swan River to the Sauk River. The furthest upstream station on this WID is 15EM052, located between Rice and Royalton. This site was sampled in 2020, producing an IBI score of 50.5, well above the general use threshold of 31. This site was recently changed from class 1 to class 2 based on spatial class assignment review. The next downstream station on this WID is 25EM053, located just slightly downstream from 15EM052. This site was sampled in 2025, producing an IBI score of 77, also well above the general use threshold (24). The furthest downstream site on this WID is 13UM009. This station, just downstream of Rice, was sampled twice in 2024, producing IBI scores of 70.3 and 73.8 with BCG tier 4 communities. Taxa richness was good, and both samples contained intolerant taxa. Overall, data along this WID indicates this section of the Mississippi supports healthy aquatic insect communities. Recommend full support for aquatic life based on macroinvertebrates. ¦ 02/12/2026 (CHEM): This is a data-rich WID includes two WPLMN stations (Near Royalton and Sartel), anchor chemistry sites and many volunteer monitoring sites. Similar to upstream segments, Total phosphorus is slightly exceeding the standard, based on monitored and modeled datasets. Modeled datasets include over 1,600 daily values of phosphorus over the last 10 years, mean concentrations increase slightly from 52 to 56 ug/L from Royalton to Sartell, and are assessed against the North standard, because nearly all of the upstream watershed is in the North Region, despite the monitoring locations being in the Central Region. Chl-a data are clearly in attainment of the regional standard and suggest the elevated phosphorus is not being translated into a eutrophication concern. Per guidance, the River Eutrophication assessment is insufficient information. TSS standards are in attainment of the North standard, modeled data from the WPLMN stations have only about 3% of 2,500 sample days over the last decade with concentrations above the 15 mg/L standard. A robust S-tube dataset, including data from 9 different stations has nearly 400 observations, with only 2.8 % not meeting the clarity value equal to the TSS standard. TSS concentrations have dramatically declined from the 3 segments upstream designated as impaired. Dissolved oxygen data are also clearly meeting the standard. 44 early morning measurements all meet the 5 mg/L standard. A total of 160 measurements over the decade were collected, with no samples below the standard. Remaining parameters pH, chloride, and unionized ammonia are also clearly in attainment. Chemistry dataset suggests Full Support for aquatic life. | 02/11/2026 (AQR): Dataset clearly indicates attainment of E Coli standards, both geometric mean and individual datasets indicate low concentrations. Full support for aquatic recreation. | 03/20/2026 (AQC): PFOS in fish tissue assessment: Insufficient information to make an aquatic consumption (AQC) assessment. ¦ 03/18/2026 (AQC): Metals – Aquatic Consumption: Insufficient information to assess for aquatic consumption. Data exist for only mercury in water column. A total of 18 samples were available for Mercury assessment. All other aquatic consumption parameters, such as Antimony, Arsenic, Cobalt and Thallium are lacking data. Mercury in water column data exist across three years: 2017, 2021 and 2025 with no exceedances of the chronic standard (CS: 6.9 ng/L). Data quality is good but insufficient. Recommend IF for AQC use. | 03/20/2026 (DW): PFAS Class 1 Waters assessment: Limited support (LS) for drinking water (DW) use. No exceedances in PFOS, PFOA, PFNA, PFHxS, or HFPO-DA. Data quality is high with sufficient samples collected for assessment and impairment determinations. ¦ 03/16/2026 (DW): Drinking Water (DW): Limited support (LS) for drinking water use. The DW criterion for NO2NO3 is currently being met. A total of 492 samples were collected for NO2NO3 assessment across the 10 most recent years (2015-2025). None of the samples exceeded the DW criteria for NO2NO3 (IND: 10 mg/L). However, data is lacking for other parameters (NO2, NO3 and drinking water pesticide parameters) and as such, it is impossible to determine if these parameters are affecting DW use. From the assessment of drinking water, I would recommend LS. |  |  | N
See Beneficial Use tab for translations.

## Definitions and Abbreviations
"Nearly / Barely" (column AF of Streams tab) suggests that a waterbody is within close proximity to a standard threshold for impairment, on either side of that threshold.
This means a water is close to getting NEWLY listed as impaired / OR / a water is very close to coming off the Impaired Waters List

## Beneficial Uses
Class 2 Subdivisions (Thermal regime)
| 2A - | Coldwater river, stream, or lake
| 2B - | Warm or coolwater river, stream or lake
Class 2 Subdivisions (Tiered Aquatic Life Uses - currently applicable only to rivers and streams)
| 2Ag - | General coldwater aquatic life
| 2Ae - | Exceptional coldwater aquatic life
| 2Bg - | General warm or coolwater aquatic life
| 2Be - | Exceptional warm or coolwater aquatic life
| 2Bm - | Modified warm or coolwater aquatic life
An additional 'd' modifier on a 2B indicates a warmwater system that is also protected as a drinking water source.