## Sheet1
Commenter | Rule | Feedback | Response
City of Andover | 2.7.2 Fees | If no application fee, will there be an escrow charged and drawn on by CCWD? Collect that up front or bill after the fact to developers? LRRWMO has an application fee AND an escrow fee now, at least with an amount identified so applicant has an idea of what fees may be. May want to consider putting a dollar amount in for required upfront escrow for reviews and return any unused amounts so it's not an issue of holding up permit approvals waiting on getting paid by applicants? There's a potential that could delay start of projects if not paid in a timely manner. | This revision updates the rule to reflect the current fee structure. Previously, the District charged a $10 non-refundable application fee in addition to review and inspection fees. As part of the 2026 update, staff simplified the structure by removing the application fee, while keeping the other upfront fees in place.
City of Andover | 3.3.2.2 Peak Runoff Rate | Is Section 3.3.2.1 still applicable for "Drainage-Sensitive Use Areas?" Where are they even, this has always been a gray area that I haven't seen applied but has been questioned. Last I recall Tim Kelly saying, this made sense when a good portion of the CCWD was undeveloped fields, but it's largely no longer applicable. Is that correct? If so, is that requirement / refernence still necessary? Or if so, can the map for where these areas are be posted somewhere so people know before submitting a design if they need to meet the pre 100 year < post 25 year requirement? | While many of the drainage-sensitive use areas identified in the past have since been developed, a number remain within the District, including agricultural fields and golf courses. Although the applicability of this requirement may diminish over time, staff have determined that it remains appropriate to retain it in the current rules. Cities can access the relevant mapping through MS4Front, which includes a Drainage Sensitive Uses layer. Because these areas may change as development occurs or conditions evolve, the layer is updated periodically.
City of Andover | 3.3.3.c. Soils Report | Consider adding something like this, we've run into problems with this on several recent projects: "The seasonal high water level (highest anticipated water level) shall be identified for each soil boring (this is NOT the observed ground water level). In particular, this must be identified in areas of proposed infiltration to verify a minimum 3' separation from the bottom of the infiltration practice to the seasonal high water level elevation." The seasonal high water elevation is RARELY in the first Geotech Report, we always have to ask for it after review. We've had two projects the past 2 years where this wasn't met and resulted in a complete redesign of the stormwater system. | This has been removed from this section to avoid redundancy with 3.4.3.
City of Andover | 3.3.3.d Preconstruction Infiltration Testing | If waived post construction, how do we know if the basin bottoms were overly compacted and meet design rates? Is this up to each individual City or the CCWD? Usually if a low rate is used for design (ie 1"+/-/hr), it's typically fine. Waiving post-construction testing is in conflict with section 2.12.2, should add something to that section if waiving stays in. | Based on feedback received at the TAC meeting, cities generally did not support waiving post-construction testing under any circumstances. In response, the rules have been revised to remove this provision. The recommendation for preconstruction testing to inform design will remain in place.
City of Andover | 3.3.4.2 In-Kind | Not really sure what this is getting at??? | Clarifying language has been added to better describe the in-kind treatment process. This allows applicants, in certain cases, to propose treating untreated impervious areas that are not otherwise required to be addressed, in place of a portion of impervious surfaces that are required to be treated. This approach can provide flexibility when regulated impervious areas cannot be routed to a BMP.
City of Andover | 3.3.6. Landlocked Basins/Low Floor Freeboard | 1. Is the first sentence redundant? Isn't an EOF required at the 100-year HWL for a non-landlocked basin? In Andover we require EOF at the 100-year HWL. 2. For Andover, we require low floor elevations to be 2' above design HWL (100-year for non-landlocked or 2-100-year B?B for landlocked) or 3' above the seasonal high water level as determined by geotechnical engineer, whichever is more restrictive. 3. In Andover with non-landlocked basins, for lookout or full basement lots, we allow for not meeting the 2' low floor elevation above the 100-year provided Darcy's Law calculations can prove that the adjacent basin will draw down in sufficient time for lateral movement of ponded water to not impact low floor elevations (still need to be at least 3' above the seasonal HWL from the Geotech Report). In these cases, we also require the low opening to be 2' above the emergency overflow for each basin (we also define "low opening" in detail). If this is being used by other communities, it would be nice to have a standard or reference to how to calculate this in the CCWD rules, or at least reference it so it's technically "allowed" by the CCWD, at least in Andover. This is typically most applicable adjacent to infiltraton basins which are designed to draw down fast, or areas where there is rear yard drainage that drains dry but does bounce in larger storm events. | The EOF is not required to be at the 100-yr elevation in all cases. Changing the 'or' to 'and' means the higher elevation applies. The District also allows for alternative calculations, such as Darcy's Law, to be submitted. A clause allowing for an alternative calculation method has been added as suggested.
City of Andover | 3.4.3 Soils Submittals | Should add something in this section about requiring Seasonal High Water Level (highest anticipated water level) for each boring location if infiltration practices are proposed. This DOESN'T need to be monitoring piezometers for an extended period of time. Often, the geotech engineer will review their boring logs, adjacent wetlands / lakes / ponds, and use their professional judgement and expertise on what they think this elevation is. | This has been added as a recommendation. Staff and District engineers conduct a comprehensive review of soil borings, aerial imagery, contour data, and information from previous projects to assess seasonally saturated soils. In some cases, this evaluation may differ from the seasonal high groundwater levels identified by the project’s geotechnical engineer.
City of Andover | 6.3.5 Standards | Section only says "2' above the 100-year floodplain", what if landlocked then should be 2' above 2-100 year back to back HWL. Also consider adding "and 3' above the seasonal high water level, whichever is more restrictive" if other City's agree. Andover does use this additional requirement. | There are no instances where District modeled floodplain is landlocked.
City of Andover | Appendix A: Definitions | Consider adding definitions for "low opening elevation" | The definition has not been included in the rules because the term itself does not appear within the rules. As such, adding a definition for it was determined to be unnecessary.
City of Andover | Appendix A: Definitions | Consider adding definition for "seasonal high water level" or "highest anticiapted water level." There is something somewhat similar under "Seasonally Saturated Soils" in the current definitions, but my understanding is redox in borings isn't as reliable of an indicator anymore especially with the district being more and more developed now. | The definition of seasonally saturated soils has been updated to better align with MPCA guidance. While redox features in soils can sometimes reflect legacy conditions, MPCA uses this definition as the basis for the 3-foot separation requirement. The revised definition is slightly broader in scope.
City of Ham Lake | 3.3.6. Landlocked Basins/Low Floor Freeboard | The current requirement for maintaining two (2) feet of freeboard above the 100-year high water level OR one (1) foot above the emergency overflow elevation is overly conservative in cases where a clearly defined and functioning emergency overflow exists with adequate downstream conveyance. By definition, a basin that has an emergency overflow is not landlocked. Trying to combine this rule is landlocked basins causes an excessive restriction. In a typical stormwater system, the emergency overflow elevation serves as the controlling hydraulic limit of the basin. Once water reaches this elevation, excess flows are discharged from the system, preventing further rise in water surface elevation under modeled conditions. Where the receiving system (e.g., ditch, channel, or storm sewer) has a significantly lower hydraulic grade line and sufficient capacity, there is no reasonable hydraulic mechanism for sustained water levels above the overflow elevation. Requiring two (2) feet of freeboard above the emergency overflow effectively duplicates the safety factor already inherent in the design of the overflow system. This approach does not account for site-specific hydraulic conditions and can result in unnecessary grading impacts, increased construction costs, and reduced site efficiency without a corresponding increase in public safety. A more technically appropriate standard would be: One (1) foot of freeboard above the emergency overflow elevation, provided that: The overflow is designed with adequate capacity and erosion protection, A defined and protected overflow path is established, The downstream conveyance system has sufficient capacity and is not subject to backwater conditions that would impair discharge. This approach maintains a reasonable factor of safety while better aligning with actual hydraulic performance and site-specific conditions. | The District’s low floor freeboard requirements are intended to protect habitable structures under both current and future precipitation conditions from overland flow and lateral groundwater movement. This update does not change the underlying standard—compliance is still based on the higher of 2 feet above the 100-year elevation or 1 foot above the emergency overflow (EOF). The revision provides clarification of that. It also adds language recognizing that alternative calculation methods, such as Darcy’s law, may be used to demonstrate compliance based on site-specific conditions, consistent with current practice.
City of Ham Lake | 3.4.4 Contaminated Soils Submittals | So if infiltration is prposed on ANY site, a Phane 1 Environmental Assessment must be completed? Couldn't we limit this to "sites adjacent to those listed on WIMM | The MPCA soil contamination assessment checklist has been included as a less burdensome alternative to a Phase I assessment. The checklist uses the What’s in My Neighborhood (WIMN) tool as an initial screening step.
City of Ham Lake | 4.3.1.c ESC Plan Requirements | So we are no longer requring the site to be stabilized within 24 hours? This is inconsistant with past direction | Correct. Staff have heard from partners that a 24 hour stabilization timeline is infeasible/unreasonable.
TEP | 5.0 Wetlands | Once the new WCA rules go into effect, the siting criteria will be limited to just the BSA. Consider adding siting criteria for major/minor watershed into CCWD rule. | Incorporating new wetland protections and expanded buffer requirements would necessitate additional evaluation and is beyond the scope of the current rule revision. Staff intend to continue conducting periodic rule updates and recommend that the need for such changes be evaluated through a separate process, initiated in advance of future rulemaking efforts.
TEP | 8.0 Buffers | Recommend simplification of buffer rule to public waters 50ft with 30 ft minimum and all other waterbodies 25ft with 15ft minimum
TEP | 8.0 Buffers | Consider requiring native vegetation